**Mega T3 Inverter 15**

**12000 BTU Heat & Cool**DAWLANCE Mega T3 Split AC gives you powerful cooling with a High Efficiency Compressor and maximum durability by using 100% Copper Connecting Pipes. The Power Outage Memory function provides ease by recording your last used option and restarts with the same selection.

**Warranty:**

* 12 years warranty
* 4 years pcb card warranty
* SKU: F01000000277
* Categories: [AC](https://www.dawlance.com.pk/product-category/ac/), [Inverter Series AC](https://www.dawlance.com.pk/product-category/ac/inverter-series/)

Technical Specs

**Comfort**

* Heat & Cool
* Auto Restart
* Self Cleaning
* Hidden Display
* Multiple Programing Features – 24hrs
* Sleep Mode
* Indoor Cooling Unit Operation Range (Centigrade) – 17~32
* Condenser Fin – Gold Fin

**Energy Efficiency**

* EER – 3.02
* Cooler Liquid – R410 A
* COP – 3.41

**Silence**

* Noise Level DB - 48
* Outdoor DB - 52

**Air Quality**

* Air Flow rate m3/hr - 550
* Other

 Sleep mode

 Turbo Mode

 Memory Function

 Anti Rust Outdoor Casing

* +  Moisture Removal L/h: 1.5

**Capacity**

* Cooling Capacity (Btu / h) – 18000 BTU / h
* Voltage Range – 220 - 240